## Price Sheet
TORFP #:060B9400048 Persimmon Tree and Rockefeller Court Equipment Shelters TO Financial Proposal
# | Project Line Item | Price
Site Preparation Work
1 | Survey and mark the Limits of Disturbance (LOD) in accordance with the attached construction drawings. | $
2 | Clearing and grading. | $
3 | Furnish and install sediment and erosion control systems and any necessary storm water management features in accordance with the attached drawings. | N/A
4 | Furnish and install a stabilized construction entrance in accordance with the construction drawings. | N/A
5 | Construct the tower foundation per tower manufacturer’s specifications. | N/A
6 | Construct two (2) 12x28ft. equipment shelter foundation (one at each site) | $
7 | Construct two (2) 4x20ft. Concrete foundation for one (1) 1,000 gallon LP fuel tank at eeach site. | $
8 | Install shelter ground rings per the latest version of Motorola R56 installation standards. | $
9 | TO Contractor shall restore all areas of grass or existing pavement which have been disturbed during construction. | $
10 | Install an eight (8) ft. high-galvanized chain link fence with two (2) feet of barbed wire on top, with a twenty (20) ft. wide, double leaf vehicle gate; and two (2) five (5) foot man gates around the site (includes tower, equipment shelter as shown on Attachment #33 Construction Drawings. | N/A
Installation
11 | Purchase and delivery of one (1) fully functional, 430 ft. above ground level, three (3) legged, solid legged, heavy duty, self-supporting, two-way microwave radio tower. | N/A
12 | Tower Erection | N/A
13 | Purchase and install tower lighting equipment on the 430 ft. tower (Total finished height of the tower including all appurtenances will be 448 ft.) as per FAA Advisory Circular AC70/7460-1-L or latest revision. | N/A
14 | Purchase and installation of two (2) 12x28x10 ft. concrete equipment shelter (height is inside dimension). | $
15 | Purchase and installation of two (2) new 1,000 gallon LP fuel tank with hookup to the generator and shall include first LP fill-up. | $
16 | Purchase and install two (2) extruded metal, 24-inch wide, no cantilever ice-bridge. | $
17 | Purchase and installation, per local utility standard, of an electrical backboard of steel post and unistrut construction to include CT cabinet (if required), wire trough, main disconnect, and at least one (1) electric company approved meter socket with room to accommodate a minimum of three (3) additional meters. | $
18 | Purchase and installation of electrrical conduits | $
19 | Purchase installation, and connection of electrical wiring. | $
20 | Rockefeller Court site only. Purchase and installation of cable ladder (up to 400 ft level on the existing tower at site) | $
21 | Supply bollards as needed in accordance with the attached construction drawings. | N/A
| Total Evaluated Price PERS TREE ROCK COURT EQUIP SHELTER (Items 1 through 20 added) | 0
Submitted by:
| Authorized Signature | Title
| Printed Name of Authorized Signature | Federal Employer Number
| Company | Date
| Phone # | Address
SUBMIT COMPLETED DOCUMENT AS A PDF WITH SIGNATURE